Chartiers Creek Watershed Association

Monitoring Study Plan

Prepared by:

Susan Carmichael, Watershed Specialist

Washington County Conservation District

Adopted:

March 2007

Chartiers Creek Watershed Association

Monitoring Study Plan

1. Chartiers Creek Watershed Association (ChCWA)

Mission	The ChCWA works to enhance, protect and develop the ecosystem of the watershed.

Goals	Goals include undertaking activities to study the natural resources of the watershed, develop programs to improve and maintain the water resources of the watershed, promote local interest in natural resource conservation, involve local support to correct conditions that cause problems for the watershed and identify federal, state and local programs that would benefit the watershed.

Major		Major activities of the ChCWA have included water quality monitoring, semi-annual

Activities	macroinvertebrate sampling and annual stream clean-ups.  The ChCWA additionally serves on several local committees, supports efforts regarding the rehabilitation of Canonsburg Lake, annually offers a wetlands tour, publishes a newsletter, maintains a website, regularly pursues grant opportunities and participates in county-wide outreach events.

A major accomplishment of the ChCWA was the completion of a rivers conservation plan.  This comprehensive plan is designed as a guide to clean up, protect and preserve the area’s natural and cultural resources.  It is also a document that will assist local and multi-municipal planning.  The plan has been placed on the Pennsylvania (PA) Rivers Conservation Registry, which makes the communities within the watershed eligible for grants under the PA Keystone Grant Program.

Non-Profit	The ChCWA is not incorporated; however, membership is held with the Washington

Status	County Watershed Alliance (Alliance), which is incorporated.  The Alliance is an I.R.S.-approved 501(c)(3) organization, Fed. ID# 25-1815293; it is an umbrella organization for watershed associations in Washington County, PA.  The Alliance maintains a mission to enhance, protect and develop the natural resources of watersheds with their headwaters in Washington County.  This mission will be accomplished through scientific investigations, research, education and outreach and by supporting sound agricultural activities, encouraging sustainable land use and providing assistance to local watershed associations.

Founded	The ChCWA was formally organized in 1999.

Members	Membership is open to anyone living within the watershed, as well as individuals,

and Staff	businesses and organizations that own property or are actively involved within its boundaries.  Currently the ChCWA has no paid staff.

2. Chartiers Creek Watershed

Location	The Chartiers Creek Watershed is located in southwestern PA and flows north and east through Washington and Allegheny Counties.  Chartiers Creek discharges into the Ohio River at McKees Rocks, PA.  The Upper Chartiers Creek Watershed is located in the central and north-central portions of Washington County.  Within it are parts or all of 15 municipalities, including urban and suburban areas, extensive commercial and industrial development and the Arden Landfill, operated by Waste Management.  Water resources include 36 public water supply wells, two large lakes for golf courses, six former water supply reservoirs and a 76-acre lake maintained by the PA Fish and Boat Commission (FBC).

Size	The size of the Upper Chartiers Creek Watershed is approximately 139 sq. miles or approximately 88,886 acres.  The length of Chartiers Creek within this portion is 38.5 miles.  There are an estimated total of 282 miles of stream within the Upper Chartiers Creek Watershed.

Table 2.1: Background on Watershed of Interest

| Waters of Interest | Sub Basin Acres | Joins What Larger Water Body | Land Use Types | Protected Use |
| --- | --- | --- | --- | --- |
| Ohio River |  | Mississippi River at Cairo, Illinois |  |  |
| Chartiers Creek | 31,701 | Ohio River at McKees Rock | Residential, Non Res. Development, Agricultural, Forested, Transportation | WWF – HQ-WWF* |
| Little Chartiers Creek | 29,316 | Chartiers Creek | Agricultural, Forested, Residential, Non Res. Development, Wetlands | WWF – HQ-WWF* |
| Chartiers Run | 7,344 | Chartiers Creek | Forested, Agricultural, Wetlands, Residential, Non Res. Development | WWF+ |
| Georges Run | 4,592 | Chartiers Creek | Agricultural, Forested, Strip Mines, Residential, Non Res. Development | WWF |
| Brush Run | 3,919 | Chartiers Creek | Agricultural, Forested, Residential, Non Res. Development | WWF |
| Westland Run | 3,678 | Chartiers Run | Forested, Agricultural, Residential, Non Residential Development, Strip Mines | WWF |
| Catfish Run | 3,141 | Chartiers Creek | Residential, Forested, Agricultural, Non Res. Development | WWF |
| Plum Run | 2,880 | Chartiers Run | Agricultural, Forested, Residential | WWF |
| Morganza Run | 1,598 | Chartiers Creek | Forested, Agricultural, Non Res. Development, Transportation, Residential | HQ-WWF++ |
| Opossum Run | 717 | Little Chartiers Creek | Agricultural, Forested, Non Res. Development | HQ-WWF |

*These sub basins have tributaries or segments with more than one protected use.

+Warm Water Fishery

++High Quality Warm Water Fishery

2. Chartiers Creek Watershed continued

Table 2.2: Communities within the Chartiers Creek Watershed

| Townships | Canton, Cecil, Chartiers, Mt. Pleasant, North Franklin, North Strabane, Peters, South Franklin and South Strabane and small portions of Nottingham and Amwell |
| --- | --- |
| Cities | Washington |
| Boroughs | Canonsburg, East Washington, Green Hills and Houston |

Water	1.	Sedimentation: Caused by agricultural runoff, dirt and gravel roads, stormwater

Quality	runoff and runoff from developed sites.  Sedimentation results in aquatic life

Issues	impairment, the carrying of pollutants and the creation of flooding issues.

2. 	Sewage: Malfunctioning on-lot septic systems and agricultural livestock pollution lead to recreational and aesthetic quality impairments.

3.	Nutrient Enrichment: Nutrients and chemicals from agricultural communities and other sources impair aquatic life.

4.	Habitat Modification: Any physical, man-made alterations to the channel, floodplain and/or riparian zone of a stream define habitat modification.  These alterations can include channelization, culverting headwater streams, destruction of riparian cover and dam construction.

5.	Coal Mining: Issues include abandoned mine drainage from past mining activities and potential mine subsidence from current operations.  One example of a treatment facility within the Chartiers Creek Watershed is CONSOL Energy, Inc.’s Hahn Treatment Plant located in North Strabane Township.

6.	Brownfield Sites: According to the US Environmental Protection Agency (EPA), the term means real property, the expansion, redevelopment or reuse of which may be complicated by the presence or potential presence of a hazardous substance, pollutant or contaminant.  The Molycorp site located in Canton Township is an example of a brownfield site.

7.	Flooding: Flooding can cause the overloading of storm and wastewater systems and damage water and sewage treatment facilities, landfills and other impoundments, which increase the risk of pollutant contamination in bodies of water.  Flooding is a recurring problem along Chartiers Creek and its tributaries.

8.	Wetlands: Wetlands provide habitat for fish and wildlife, natural water quality improvement, flood storage, shoreline erosion protection, recreation, aesthetic appreciation and substantial biodiversity.  Therefore the preservation and protection of wetlands is an essential tool for reducing the potential for flooding and improving water quality.

3. Monitoring Program

Goals	All monitoring programs should accomplish the goals of the organization, use good science, accurately report data and infer conclusions based on tested hypotheses.  The goals of this plan are to obtain water quality data for the Chartiers Creek Watershed, to detect contaminants and other threats to ecological integrity and to begin a long-term database documenting water chemistry and biological and physical features to detect impacts and track changes over time.

Table 3.1: Reasons for Monitoring

| Reason | Benefits | Quality Assurance |
| --- | --- | --- |
| Educational Learning Experience | Enhances the understanding of the dynamics of aquatic resources and ecosystems Enhances the appreciation of aquatic resources and ecosystems | No formal Quality Assurance/ Quality Control (QA/QC) plan needed Not critical if the experience and appreciation is the major consideration Detailed programs should support learning objectives and standards |
| Public Awareness | Enhances community awareness of water quality problems or issues Builds support for a program or course of action Attracts new volunteers and members | Basic written plan – purpose, parameters, methods, sites and schedule Lends credibility Final destination of the data determines the level of QA/QC |
| Background Water Quality Data | Provides valuable information to resource agencies that they may have otherwise be unable to obtain Enhances knowledge of a particular stream or sub watershed | Basic written plan – purpose, parameters, methods, sites and schedule Depends on who will be using the data |
| Identification and Documentation of Water Quality Problems | Identifies, characterizes and documents a problem Macroinvertebrate data is more useful than chemical data | Basic written plan – purpose, parameters, methods, sites and schedule |
| Stream Segment Assessment | Addresses land use activities, discharges, runoff and other impacts | Formal QA/QC plan |

Budget	The ChCWA does not officially adopt a budget for monitoring; however, the association estimated that $100 would be spent on monitoring each year and is dependent on the circumstances of that year.  The association spent approximately $450 on monitoring replacement supplies since 2003.  The original kit cost is not included in the $450.

A monitoring budget should take into account initial start up cost including equipment, maps and other reference materials, trainings, salaries, transportation, maintenance, supply replenishment, laboratory analysis and data recording.

3. Monitoring Program continued

Table 3.2: Monitoring Categories

| Type | Description | Benefits |
| --- | --- | --- |
| Physical/ Visual | Evaluates the condition of the stream corridor, habitat and erosion | Useful to document changes |
| Chemical | Provides a snapshot of water quality | Identifies pollutants; however, the volume of water influences concentrations |
| Biological | Evaluates the condition of aquatic communities | Indicates short or long-term pollution events and water quality |

Table 3.3 Monitoring Parameters

|  | Physical/Visual | Chemical | Biological |
| --- | --- | --- | --- |
| # Sites | 0- (100’ Up/Downstream) | 4* | 4* |
| Time of Year | Annually In-depth analysis as needed | Quarterly | Biannual in spring and fall |
| Time of Day | Not Critical but in daylight | Not Critical but in daylight | Not Critical but in daylight |
| Special Weather Considerations | Not during or 24 hours after a heavy rain | Not during or 24 hours after a heavy rain | Not during or 24 hours after a heavy rain |
| Sampling Equipment | GPS Unit | Hach Kits | Kick Net |
| Equipment Preparation | None | Calibration of Meters | Cleaned Equipment |
| Protocol Manuals | US Department of Agriculture (USDA) Stream Visual Assessment Protocol EPA Volunteer Stream Monitoring: A Methods Manual Environmental Alliance for Senior Involvement (EASI) Water Quality Manual | EPA Volunteer Stream Monitoring: A Methods Manual Hach Kit Manual EASI Water Quality Manual | EPA Rapid Bioassessment Protocols for Use in Streams and Wadeable Rivers EPA Volunteer Stream Monitoring: A Methods Manual EASI Water Quality Manual FBC Key |

Table 3.4 Sampling Site List

| Site # | Site Name | Municipality | Brief Description | Parameters |
| --- | --- | --- | --- | --- |
| 1* | Chartiers Run | Houston Borough | Behind American Legion in Houston | Chemical Biological |
| 2 | Chartiers Creek | Houston Borough | At Houston Borough’s Park off of Bishop Street | Chemical Biological |
| 3 | Little Chartiers Creek | N. Strabane Township | Intersection of Linden Road and Linden Creek Road | Chemical Biological |
| 4 | Chartiers Creek – Route 18 | N. Franklin Township | Near Scotty’s off of Route 18 | Chemical Biological |

*As of fall 2006, Site #1 is not currently active.  More sites may be added in the future.

3. Monitoring Program continued

Monitoring	Non hazardous monitoring waste may be safely diluted and disposed of down a sink

Waste		drain.  Hazardous monitoring waste should be deposited into a marked container and

Disposal	stored.  Once full, the container should be given to ChCWA member Josh Dunkle for EPA-approved disposal.  If Josh Dunkle is no longer a member, then it is recommended to pay for safe disposal.

Hazardous monitoring waste is generated from the Chloride (Chloride 2 Indicator Powder Pillows and Silver Nitrate), Nitrate (NitraVer 5 Reagent) and Sulfate (SulfaVer 4 Reagent) tests.

4. Quality Assurance/ Quality Control

Quality	Developing good QA/QC procedures is a critical component of developing a volunteer Assurance/	monitoring program.  Without these procedures, it is difficult to show that the data Control 	gathered are usable.

Table 4.1 Quality Assurance/ Control Measures

| Indicators(s) | Internal QC/QA Measures | External QA/QC Measures |
| --- | --- | --- |
| Physical/Visual | Additional ChCWA Monitors Verify | Call the Western PA Conservancy (WPC) |
| Chemical: Nitrate, Nitrite, Phosphate, Specific Conductivity, Sulfate | Field Blank Duplicate Sample | Professional Laboratory Every Other Year |
| Chemical: Other Field Tests | Duplicate Sample | Professional Laboratory Every Other Year |
| Biological | Additional ChCWA Monitors Verify | Call a PA Department of Environmental Protection (DEP) Aquatic Biologist |

Quality	The ChCWA, in the event that errors or problems are found with monitoring, the

Control	following investigation actions will be taken.  Repeat sampling will be completed either

Response	under the direct supervision or reviewed by a DEP water quality agent or specialist, such

Actions	as the WCCD watershed specialist or a local college environmental professor.

Training	Training volunteers on proper monitoring techniques and procedures is imperative to the success of the ChCWA’s program.  Members of the association will conduct initial training for all new volunteers. In addition to initial training, the ChCWA agrees that all volunteers should receive additional refresher training and would again provide the training.  As an alternative, free training could be provided by the Watershed Specialist, WPC or another organization and offered to all watershed associations within Washington County.

Manuals	The documents listed under “Protocol Manuals” in Table 3.3 are appropriate for the volunteer monitors to use.

5. Data Analysis

Field	All monitoring data of the ChCWA will be recorded on the data sheets provided in

Sheets	Appendix B.  Data sheets will be replenished as needed by the ChCWA Secretary.

Data	All data sheets will be given to the ChCWA Secretary.  The Secretary will provide the

Management	data sheets to the Watershed Specialist for data management.

Table 5.1 Entering and Validating Data

| Computer Application | Microsoft Access, PA Organization for Watersheds and Rivers (POWR) Online Database |
| --- | --- |
| Data Recorder | Watershed Specialist |
| Results Below Detection Limit | Entered as “Below Limit” |
| Missing Values | Entered as “Missing” |
| Accuracy of Data Entries | Watershed Specialist, Two ChCWA Volunteers- One to check the data sheet and the other to check the inputted value. |

Data	The ChCWA could use, but are not limited to, the following statistical summaries to

Analysis 	reduce their data set: parametric or nonparametric correlation coefficients or Analysis of Variance between Groups (ANOVA) comparisons.  Bar graphs displaying the mean or median results with the standard deviations of ranges indicated would be the best choice for easy understanding.  As of the moment, the ChCWA does not have a reference site for comparison.  A well know clean stream within the watershed could be used for this purpose.  Using produced graphs, charts or maps the ChCWA has the means to produce a story based on their monitoring data.  The use of their Rivers Conservation Plan will help identify best management recommendations to improve impaired waters.

Data	The ChCWA’s audience includes their members, schools and clubs, local colleges,

Reporting	landowners within the watershed, sewage authorities, sportsmen and local, state and federal governments and agencies.  The ChCWA will use a report format that is suitable to each audience type.  Possible vehicles for reporting include a printed annual report, their website and local newspapers in addition to POWR’s online database.  The data can also be used to support grant requests and additional funding opportunities.

6. Project Tasks and Personnel

Table 6.1 Sample Monitoring Tasks and Personnel Form

| Year: | Personnel | Paid Position (Y/N) | Contact Information |
| --- | --- | --- | --- |
| Volunteer Recruitment and Coordination | Sub-Committee 1-Volunteer | N |  |
| Volunteer Training | Sub-Committee Technical Support | N |  |
| Monitoring | Volunteers | N |  |
| Maintenance/ Housing/Handling of Equipment | Sub-Committee Technical Support | N |  |
| Replenishment of Equipment, Chemicals and Field Sheets | 1-Volunteer | N |  |
| Data Analysis | Sub-Committee | N |  |
| Data Management | Washington County Conservation District (WCCD) Watershed Specialist | Y | 724-222-3060 x 117 wccd@yahoo.com |

Equipment	The ChCWA owns and maintains the following equipment:

Hach Monitoring Kit		ph Meters

Conductivity Meters		Kick Net

Hip Boots			Small Display Board

Other	Volunteers should keep the following items in their possession while monitoring:

Equipment		Partner				Boots or Waders

Walking Stick			Bright-colored Clothing

Rubber Gloves		Insect Repellent

Sunscreen			First Aid Kit

Whistle			Drinking Water

Clipboard			Pens

Tape Measure			Data Sheets

Identification			Other Necessary Items

6. Project Tasks and Personnel continued

Table 6.2 Sample Volunteer Schedule Form

| Year __________ |
| --- |
| Equipment should be returned to: |
|  | Name: ______________________________ |
|  | Phone: ______________________________ |
| For supply, data sheet, etc. replenishment contact: |
|  | Name: ______________________________ |
|  | Phone: ______________________________ |
| Month | Site # | Physical/ Visual | Chemical | Biological | Volunteers |
|  |  | ( | ( | ( |  |
|  |  | ( | ( | ( |  |
|  |  | ( | ( | ( |  |
|  |  | ( | ( | ( |  |
|  |  | ( | ( | ( |  |
|  |  | ( | ( | ( |  |
|  |  | ( | ( | ( |  |
|  |  | ( | ( | ( |  |
|  |  | ( | ( | ( |  |
|  |  | ( | ( | ( |  |

Appendix A. List of Abbreviations

Alliance		Washington County Watershed Alliance

ANOVA		ANalysis Of VAriance between Groups

ChCWA		Chartiers Creek Watershed Association

DEP			Pennsylvania Department of Environmental Protection

EASI			Environmental Alliance for Senior Involvement

EPA			United States Environmental Protection Agency

FBC			Pennsylvania Fish and Boat Commission

HQ-WWF		High Quality Warm Water Fishery

PA			Pennsylvania

POWR			Pennsylvania Organization for Watersheds and Rivers

QA/QC		Quality Assurance/ Quality Control

USDA			United States Department of Agriculture

WCCD		Washington County Conservation District

WPC			Western Pennsylvania Conservancy

WWF			Warm Water Fishery

Appendix B. Data Sheet

Chartiers Creek Watershed Association

Washington County, Pennsylvania

Monitoring Field Data Sheet

General Information:

| Monitor’s 1 Name |  |
| --- | --- |
| Monitor’s 2 Name |  |
| Sample Collection Date (mm/dd/yyyy) |  |
| Sample Collection Time (hh:mm am/pm) |  |
| Stream Name |  |
| Municipality |  |
| Site Description or Station # |  |

Weather Conditions:

| Precipitation within past 24 hours | None |  |
| --- | --- | --- |
| (check appropriate box) | Trace |  |
|  | Light |  |
|  | Heavy |  |
| Present Air Temperature | °F | °C |
| Current Weather | Sunny |  |
| (check appropriate box) | Partly Cloudy |  |
|  | Overcast |  |
|  | Rain |  |
|  | Frozen Precip. |  |

Physical Characteristics:

| Water Appearance | Clear |  |
| --- | --- | --- |
| (check appropriate | Orange/Red |  |
| box) | Dark Brown |  |
|  | Green |  |
|  | Foamy |  |
|  | Milky/White |  |
|  | Muddy/Cloudy |  |
|  | Other __________ |  |

| Soil Odor | Chlorine |  |
| --- | --- | --- |
| (check appropriate | Sulfur (rotten eggs) |  |
| box) | Fishy |  |
|  | Earthy |  |
|  | Sewage |  |
|  | Other __________ |  |
|  | No Unusual Smells |  |

| Sediments | Sludge |  |
| --- | --- | --- |
| (check appropriate box) | Siltation: Light, Moderate, Heavy |  |
|  | Black Organic Material |  |
|  | Reddish/White Floc |  |
|  | White/Green Filamentous Growth |  |
|  | Other __________ |  |
|  | No Unusual Sediments |  |

| Water Odor | Chlorine |  |
| --- | --- | --- |
| (check appropriate | Sulfur (rotten eggs) |  |
| box) | Fishy |  |
|  | Earthy |  |
|  | Sewage |  |
|  | Other __________ |  |
|  | No Unusual Smells |  |

Water Chemistry:

| Parameter | Result | Dilution? (Give details) | Duplicate Result | Field Blank Result | Calibration Standard(s) |
| --- | --- | --- | --- | --- | --- |
| Temperature | °C |  | °C | N/A | N/A |
| pH | SU |  | SU | N/A |  |
| Specific Conductivity | μS/cm |  | μS/cm | μS/cm |  |
| Dissolved Oxygen1 | mg/L |  | mg/L | N/A | N/A |
| Alkalinity | mg/L CaCO3 |  | mg/L CaCO3 | N/A | N/A |
| Acidity | mg/L CaCO3 |  | mg/L CaCO3 | N/A | N/A |
|  |  |  |  |  | Loading |
| Nitrate | mg/L |  | mg/L | mg/L | kg/s |
| Nitrite | mg/L |  | mg/L | mg/L | kg/s |
| Phosphate | mg/L |  | mg/L | mg/L | kg/s |
| Iron2 | mg/L |  | mg/L | N/A | kg/s |
| Manganese2 | mg/L |  | mg/L | N/A | kg/s |
| Aluminum2 | mg/L |  | mg/L | N/A | kg/s |
| Sulfate2 | mg/L |  | mg/L | mg/L | kg/s |
| Chloride2 | mg/L |  | mg/L | N/A | kg/s |

Footnotes:

1 Perform the Dissolved Oxygen test only during June, July and August

2 These tests can be eliminated at specific sites as determined by the association

°C Degrees Celsius

SU Standard Units

μS/cm Micro-siemens per Centimeter

mg/L Milligrams per Liter

mg/L CaCO3 Milligrams per Liter as Calcium Carbonate

N/A Not Applicable

Comments/Suggestions/Questions/Etc.:

Return completed form to: ____________________________________________________________

Chartiers Creek Watershed Association

Washington County, Pennsylvania

Monitoring Field Data Sheet continued

Stream Discharge:

Method #1 – Using a Current Velocity Meter

|  | Distance from Bank1 (a) (m) | x | Depth at a1 (b) (m) | x | Velocity at a1 (c) (m/s) | = | Stream Discharge2 (m3/s) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. |  | x |  | x |  | = |  |
| 2. |  | x |  | x |  | = |  |
| 3. |  | x |  | x |  | = |  |
| 4. |  | x |  | x |  | = |  |
| 5. |  | x |  | x |  | = |  |
| 6. |  | x |  | x |  | = |  |
| 7. |  | x |  | x |  | = |  |
| 8. |  | x |  | x |  | = |  |
| 9. |  | x |  | x |  | = |  |
| 10. |  | x |  | x |  | = |  |
| 11. |  | x |  | x |  | = |  |
| 12. |  | x |  | x |  | = |  |
| 13. |  | x |  | x |  | = |  |
| 14. |  | x |  | x |  | = |  |
| 15. |  | x |  | x |  | = |  |
| 16. |  | x |  | x |  | = |  |
| 17. |  | x |  | x |  | = |  |
| 18. |  | x |  | x |  | = |  |
| 19. |  | x |  | x |  | = |  |
| 20. |  | x |  | x |  | = |  |
| Sum |  |
| # of Sample Points |  |
| Sum / # of Sample Points = Avg. Stream Discharge (m3/s) |  |
| 1 Measurements are taken at the midpoint of the interval. |
| 2 Stream Discharge = a x b x c = m3/s |

Method #2 – Timed Float Trials

| 1 Foot Intervals | Stream Depth (m) |  | Float Trial # | Time (s) |
| --- | --- | --- | --- | --- |
| 1 |  |  | 1 |  |
| 2 |  |  | 2 |  |
| 3 |  |  | 3 |  |
| 4 |  |  | 4 |  |
| 5 |  |  | 5 |  |
| 6 |  |  | 6 |  |
| 7 |  |  | 7 |  |
| 8 |  |  | 8 |  |
| 9 |  |  | 9 |  |
| 10 |  |  | 10 |  |
| 11 |  |  |  |
| 12 |  |  | Stream Width (m) |  |
| 13 |  |  | Distance Floated (m) |  |
| 14 |  |  | Stream Bottom Type |
| 15 |  |  | (Rough, Loose Rocks |  |
| 16 |  |  | or Coarse Gravel |  |
| 17 |  |  | (CV = 0.8) |  |
| 18 |  |  | (Smooth, Mud, Sand |  |
| 19 |  |  | or Hard Pan Rock |  |
| 20 |  |  | (CV = 0.9) |  |

| Sum of Depths (m) |  |
| --- | --- |
| # Intervals |  |
| Stream Width (m) |  |
| Sum of Float Times (s) |  |
| # of Trials |  |
| Distance Floated (m) |  |
| Correction Value (CV) |  |

| Sum of Depth / # Intervals = Avg Depth (m) |  |
| --- | --- |
| Avg Depth x Stream Width = X-Sectional Area (m2) |  |
| Sum of Float Times / # of Trials = Avg Float Time (s) |  |
| Distance Floated / Avg Float Time = Avg Surface Velocity (m/s) |  |
| CV x Avg Surface Velocity = Corrected Avg Surface Velocity (m/s) |  |
| X-Sectional Area x Corrected Avg Surface Velocity = Stream Discharge (m3/s) |  |

Appendix C: Macroinvertebrate Sheet

Intentionally Blank

Appendix D. Visual/Physical Assessment Sheet

Chartiers Creek Watershed Association

Washington County, Pennsylvania

Visual Assessment Data Sheet

| Monitor(s)’s Name(s): ____________________________________________ | Date: ______________ |
| --- | --- |
| Stream Name: _____________________________ | Reach Location Latitude: ___________ | Longitude: __________ |
| Reach Location Description: ____________________________________________________________ |
| Land Use (%) | Row Crop: ______ | Grazing/ ______ Pasture: | Forest: ______ | Residential: ______ |
| (what you can see/subjective) | Hayland: ______ | Industrial: ______ | Conservation Reserve: ______ | Other: ______ |
| Weather Conditions Today: ___________________________________ | Past 2-5 Days: ____________________________ Indicate rainfall amounts if known |
| Active Channel Width: _______________________ | Dominant Substrate (%) | Boulder: ______ | Cobble: ______ | Gravel: ______ |
|  |  | Sand: ______ | Silt: ______ | Mud: ______ |
| Photos Taken: ( Yes ( No | If yes, please describe: ___________________________________________________ Include location from which the photo was taken and the direction of view (general compass direction and whether looking up, down or across stream) |

Channel Condition	______ / 10

Riparian Zone		______ / 10

Score only if applicable Sewage ______ / 5 Manure Presence ______ / 5 AMD ______ / 5

Bank Stability		______ / 10

Water Appearance	______ / 10

Nutrient Enrichment	______ / 10

Fish Barriers		______ / 10

Instream Fish Cover	______ / 10

Embeddedness		______ / 10

Invertebrate Habitat	______ / 10

Canopy Cover		______ / 10

< 6.0		Poor

Overall Score							6.1 – 7.4	Fair

(Total divided by number scored) __________				7.5 – 8.9	Good

> 9.0		Excellent

Scoring Descriptions:

Each assessment element is rated with a value of 1 to 10 (except sewage, manure presence and AMD, 1 to 5).  Rate only those elements appropriate to the stream reach.  Record the score on the data sheet that best fits the observations you make based on the narrative description provided.  It is also helpful to take notes to explain how a certain score was derived.

Channel Condition

| Natural channel; no structures, dikes. No evidence of down-cutting or excessive later cutting. (Most natural streams meander) | Evidence of past channel alterations, but with significant recovery of channel and banks. Any dikes or levies are set back to provide access to an adequate flood plain. | Altered channel |  |
| --- | --- | --- | --- |
| 10 9 8 | 7 6 5 4 | 3 2 | 1 |

Riparian Zone

| Natural vegetation extends at least two active channel widths on each side. | Natural vegetation extends one active channel width on each side. OR If less than one width, covers entire flood plain. | Natural vegetation extends half of the active channel width on each side. | Natural vegetation extends a third of the active channel width on each side. OR Filtering function moderately compromised. | Natural vegetation less than a third of the active channel width on each side. OR Lack of regeneration. OR Filtering function severely compromised. |
| --- | --- | --- | --- | --- |
| 10 9 | 8 7 6 | 5 4 | 3 2 | 1 |

Bank Stability (Bank erosion is a natural process)

| Banks are stable; 33 % or more of eroding surface area of banks is protected by roots that extend to the base-flow elevation. | Moderately stable; less than 33 % of eroding surface area of banks in outside bends is protected by roots that extend to the base-flow elevation. | Moderately unstable; banks may be low, but typically are high; outside bends are actively eroding (overhanging vegetation at top of bank, some mature trees falling into stream annually, some slope failures apparent). | Unstable; banks may be low, but typically are high; some straight reaches and inside edges of bends are actively eroding as well as outside bends (overhanging vegetation at top of bare bank, numerous mature trees falling into stream annually, numerous slope failures apparent). |
| --- | --- | --- | --- |
| 10 9 8 | 7 6 5 4 | 3 2 | 1 |

Note: When looking at bank stability, look at the slope of the bank. A steep or vertical slope indicates an unstable bank. Vegetation is also an important factor when looking at stability. A steep bank that has a good amount of vegetation or dense root cover would be more stable than a steep bank with little or no vegetation or root cover. A gradual sloping bank with a good amount of vegetation would indicate good bank stability.

Water Appearance (Usually not clear after a rain event)

| Very clear, or clear but tea-colored; objects visible at depth 3 – 6 ft (less if slightly colored); no oil sheen on surface; no noticeable film on submerged objects or rocks. | Occasionally cloudy; objects visible at depth 1.5 – 3 ft; may have slightly green color; no oil sheen on water surface. | Considerable cloudiness most of time; objects visible at depth 0.5 – 1.5 ft; slow sections may appear pea-green; bottom rocks or submerged objects covered with heavy green or olive-green film. OR Moderate odor of ammonia or rotten eggs. | Very turbid or muddy appearance most of the time; objects visible at depth < 0.5 ft’ slow moving water may be bright-green; other obvious water pollutants; floating algal mats, surface scum, sheen or heavy coat of foam on surface. OR Strong odor of chemicals, oil, sewage, other pollutants. |
| --- | --- | --- | --- |
| 10 9 8 | 7 6 5 4 | 3 2 | 1 |

Nutrient Enrichment (Expect some algae always in streams)

| Clear water along entire reach; little algal growth present. | Fairly clear or slightly greenish water along entire reach, moderate algal growth on stream substrates. | Greenish water along entire reach; overabundance of lush green macrophytes; abundant algal growth, especially during warmer months. | Pea green, gray or brown water along entire reach; dense stands of macrophytes clog stream; severe algal blooms create thick algal mats in stream. |
| --- | --- | --- | --- |
| 10 9 8 | 7 6 5 4 | 3 2 | 1 |

Fish Barriers (Do not include natural features)

| No barriers. | Seasonal water withdrawals inhibit movement within the reach. | Drop structures, culverts, dams or diversions (<1 ft drop) within the reach. | Drop structures, culverts, dams or diversions (<1 ft drop) within 3 miles of reach. | Drop structures, culverts, dams or diversions (>1 ft drop) within the reach. |
| --- | --- | --- | --- | --- |
| 10 9 | 8 7 6 | 5 4 | 3 2 | 1 |

Instream Fish Cover

| > 7 cover types available | 6 to 7 cover types available | 4 to 5 cover types available | 2 to 3 cover types available | None to 1 cover type available |
| --- | --- | --- | --- | --- |
| 10 9 | 8 7 6 | 5 4 | 3 2 | 1 |

Cover types: Logs/large woody debris, deep pools, overhanging vegetation, boulders/cobble, riffles, undercut banks, thick root mats, dense macrophyte beds, isolated/backwater pools, other: __________

Embeddedness

| Gravel or cobble particles are <20% embedded. | Gravel or cobble particles are 20 to 30 % embedded. | Gravel or cobble particles are 30 to 40 % embedded. | Gravel or cobble particles are >40% embedded. | Completely embedded. |
| --- | --- | --- | --- | --- |
| 10 9 | 8 7 6 | 5 4 | 3 2 | 1 |

Note: Embeddedness is defined as the degree to which objects in the stream bottom are surrounded by fine sediment. Only evaluate this item in riffles & runs. Measure the depth to which objects are buried by sediment.

Insect/Invertebrate Habitat

| At least 5 types of habitat available. Habitat is at a stage to allow full insect colonization (woody debris and logs not freshly fallen). | 3 to 4 types of habitat. Some potential habitat exists, such as overhanging trees, which will provide habitat, but have not yet entered the stream. | 1 to 2 types of habitat. The substrate is often disturbed, covered or removed by high stream velocities and scour or by sediment deposition. | None to 1 type of habitat. |
| --- | --- | --- | --- |
| 10 9 8 | 7 6 5 4 | 3 2 | 1 |

Cover types: Fine woody debris, submerged logs, leaf packs, undercut banks, cobble, boulders, coarse gravel, other: __________

Canopy Cover (From above, what percent of the trees are shading the stream)

Coldwater/ Coolwater Fishery

| > 75 % of water surface shaded and upstream 2 – 3 miles generally well shaded. | > 50 % shaded in reach. OR > 75 % in reach, but upstream 2 – 3 miles poorly shaded. | 20 to 50 % shaded. | < 20 % water surface shaded in reach. |
| --- | --- | --- | --- |
| 10 9 8 | 7 6 5 4 | 3 2 | 1 |

Warmwater Fishery

| 25 to 90 % of water surface shaded; mixture of conditions | > 90 % shaded; full canopy; same shading condition throughout reach. | (Intentionally blank) | < 25 % water surface shaded in reach. |
| --- | --- | --- | --- |
| 10 9 8 | 7 6 5 4 |  | 1 |

Sewage (if applicable)

| (Intentionally blank) | Noticeable odor, excess plant growth and siltation. | Noticeable odor, excess plant growth. AND Questionable pipe and black stream substrate | Visible pipe with effluent, heavy odor. |
| --- | --- | --- | --- |
|  | 5 4 | 3 2 | 1 |

Manure Presence (if applicable)

| (Intentionally blank) | Evidence of livestock access to riparian zone. | Occasional manure in stream or waste storage structure located on the flood plain. | Extensive amount of manure on banks or in stream OR Untreated human waste discharge pipes present. |
| --- | --- | --- | --- |
|  | 5 4 | 3 2 | 1 |

Abandoned Mine Drainage (if applicable)

| (Intentionally blank) | Strong evidence of AMD discharge directly into the stream | Occasional AMD presence or evidence of AMD seeps | Small amount of AMD presence |
| --- | --- | --- | --- |
|  | 5 4 | 3 2 | 1 |

# Text boxes

| Monitor’s 1 Name |  |
| --- | --- |
| Monitor’s 2 Name |  |
| Sample Collection Date(mm/dd/yyyy) |  |
| Sample Collection Time (hh:mm am/pm) |  |
| Stream Name |  |
| Site Description or Station # |  |

Loading:

1. Convert Stream Discharge m3/s to L/s

1 m3 = 1000 liters

2. Convert Nutrient Concentration mg/L to kg/L

1,000,000 mg = 1 kg

3. Calculate loading (kg/s) by multiplying the first two steps together

L/s x kg/L = kg/s